# Appendix F2

NIRCam Dithering Details

In this chapter…

Appendix F2	1

F2.1 Introduction	2

F2.2 NIRCam Imaging and External Flat	2

F2.3 Primary Dithers	3

F2.4 Subpixel Dithers	9

F2.5 WFSC Dithers	10

F2.6 Wide-Field Slitless Spectroscopy (WFSS) Dithers	11

F2.7 Small-Grid Dithers	11

Tables and Figures

Table F2.1 - Offsets for DITHER_FOV=FULL

Table F2.2 - Offsets for DITHER_FOV=FULL, PRIMARY_DITHERS=15

Table F2.3 - Offsets for DITHER_FOV=FULL, PRIMARY_DITHERS=21

Table F2.4 - Offsets for DITHER_FOV=FULL, PRIMARY_DITHERS=27

Table F2.5 - Offsets for DITHER_FOV=FULL, PRIMARY_DITHERS=36

Table F2.6 - Offsets for DITHER_FOV=FULL, PRIMARY_DITHERS=45

Table F2.7 - Offsets for DITHER_FOV=INTRAMODULE

Table F2.8 - Offsets for DITHER_FOV=INTRASCA

Table F2.9 - Offsets for SUBPIXEL_POSITIONS=1-9

Table F2.10 - Offsets for SUBPIXEL_POSITIONS=10-64

Table F2.11 – Offsets for DITHER_WFSC=2PLUS and 2MINUS

Table F2.12 – Offsets for DITHER_WFSS=4

Table F2.13 – Offsets for DITHER_WFSS=9

Table F2.14 – Offsets for DITHER_WFSS=GRISMR-SID

Table F2.15 – Offsets for DITHER_WFSS=GRISMC-SID

Table F2.16 – Offsets for DITHER_SGRID=5-POINT-DIAMOND

Table F2.17 – Offsets for DITHER_SGRID=5-POINT-BOX

Table F2.18 – Offsets for DITHER_SGRID=9-POINT-CIRCLE

Table F2.19 – Offsets for DITHER_SGRID=3-POINT-BAR

Table F2.20 – Offsets for DITHER_SGRID=5-POINT-BAR

Change log:

Version 12 (Mar. 15, 2017)

- OPR 87155 – Added 2-point pattern for WFSS (Table 2.12), renumbered subsequent tables.

- Clean version (changes accepted) per request by Ron Downes.

Version 11 (Feb. 24, 2017)

- OPR 87153 – Fixed typos in tables 2.18 (sign errors in rows 4 and 6)

Version 10 (Dec. 1, 2016)

- OPR 86212 – Fixed table for subpixel dithers > 10 to include correct positions 1-10.

- OPR 86353 – De-obfuscated case of dithers=2 for DITHER_FOV=FULL.

Version 9 (October 10, 2016)

- OPR 83563 – added WFSC, WFSS, and Small-Grid dithers to new sections

Version 8 (November 10, 2014)

- OPR 79164 – updated Introduction to include NIRCam External Flat template (F2.1)

- OPR 79164 – updated section title to include NIRCam External Flat template (F2.2)

Version 7 (October 8, 2014)

- OPR 79033 – corrected value for SUBPIXEL_POSITION=4, N=3 (Table F2.9)

Version 6 (September 2, 2014)

- OPR 76193 – updated Tables F2.9 and F2.10

Version 5 (September 13, 2012)

- OPR 71184 – update INTRASCA Medium dx and dy values in Table F2.8

Version 4 (August 19, 2011):

- OPR 64804 – changed last value in Table F2.1 from -7.5 to +7.5.

- OPR 69115 – changed column header from OBJECT_SIZE to DITHER_SIZE in Table F2.8, and in appropriate text.

- OPR 69115 – swapped column headers LARGE and SMALL in Table F2.8.

- OPR 69115 – change section F2.4 from Secondary Dithers to Subpixel Dithers.

Version 3 (May 29, 2011)

- OPR 68292 – updated text on subpixel positions (F2.2)

- OPR 68292 – renamed tables to reflect new subpixel usage (Tables F2.09 and F2.10)

- OPR 68292 – removed positions 1-9 and added positions 61-64 (Table F2.10)

Version 2 (February 16, 2011)

- OPR 66919 – updated subpixel dithering information (Section F2.2, Tables F2.9 and F2.10)

General notes:

- The documents I used in preparing this chapter are Dither Patterns for NIRCam Imaging (Anderson, Nov. 5, 2009 and the Dithering draft Phase II Proposal Instructions (distributed by M. Allen, Mar. 1, 2010).

## F2.1 Introduction

This Appendix provides the details to support dithering for all NIRCam

and WFSC templates  that employ dithers.

## F2.2 NIRCam Imaging and External Flat

The following tables specify the dither offsets for each type described in Chapter 20 and 29. The offsets in the tables are relative to the aperture center.

OSS needs the dither pattern to be converted to a set of offsets, where each offset is relative to the previous one. The first position is relative to the visit’s initial pointing.

For DITHER_FOV=FULL, and PRIMARY_DITHERS=3, 6, 9 and 3TIGHT, all of the listed offsets in the corresponding section of Table F2.1 will be used.

For DITHER_FOV=FULL, and PRIMARY_DITHERS=15, all of the listed offsets in Table F2.2 will be used.

For DITHER_FOV=FULL, and PRIMARY_DITHERS=21, all of the listed offsets in Table F2.3 will be used.

For DITHER_FOV=FULL, and PRIMARY_DITHERS=27, all of the listed offsets in Table F2.4 will be used.

For DITHER_FOV=FULL, and PRIMARY_DITHERS=36, all of the listed offsets in Table F2.5 will be used.

For DITHER_FOV=FULL, and PRIMARY_DITHERS=45, all of the listed offsets in Table F2.6 will be used.

For DITHER_FOV=INTRAMODULE, if PRIMARY_DITHERS=N, then all offsets from 1 to N, inclusive, in Table F2.7 are used. For example, if PRIMARY_DITHERS=4, offsets 1, 2, 3, and 4 are used.

For DITHER_FOV=INTRASCA, the offsets in Table F2.8 are used, based on DITHER_SIZE and the number of PRIMARY_DITHERS. If PRIMARY_DITHERS=N, all of the offsets from 1 to N, inclusive, are used for the given DITHER_SIZE. Use these offsets for CAMERA=SHORT. For CAMERA=LONG, multiply the offsets by 2.

For SUBPIXEL_POSITIONS=1 to 9, all of the listed offsets in the corresponding section of Table F2.9, for a given value of SUBPIXEL_POSITIONS, are used. For example, if SUBPIXEL_POSITIONS=7, dither points 1 through 7 will be used. All the selected secondary dither points are used for each primary dither point.

For SUBPIXEL_POSITIONS=10 to 64, all of the listed offsets in Table F2.9 with SUBPIXEL_POSITIONS=9 are used, along with the SUBPIXEL_POSITIONS=10 or greater from Table F2.10. For example, if SUBPIXEL_POSITIONS=12, dither points 1 through 9 from Table F2.9 will be used and dither points 10 through 12 will be taken from Table F2.10. All the selected secondary dither points are used for each primary dither point.

For DITHER_WFSC=2PLUS and 2MINUS, all of the listed offsets in Table F2.11. are used. These dither patterns are used primarily for WFSC Commissioning and Monitoring.

For DITHER_WFSS=4, all of the listed offsets in Table F2.12. are used for the designated pattern.

For DITHER_WFSS=9, all of the listed offsets in Table F2.13. are used for the designated pattern.

For DITHER_WFSS=GRISMR_SID, all of the listed offsets in Table F2.14. are used for the designated pattern.

For DITHER_WFSS=GRISMC_SID, all of the listed offsets in Table F2.15. are used for the designated pattern.

For DITHER_SGRID=5-POINT-DIAMOND, all of the listed offsets in Table F2.16. are used for the designated pattern.

For DITHER_SGRID=5-POINT-BOX, all of the listed offsets in Table F2.17. are used for the designated pattern.

For DITHER_SGRID=9-POINT-CIRCLE, all of the listed offsets in Table F2.18. are used for the designated pattern.

For DITHER_SGRID=3-POINT-BAR, all of the listed offsets in Table F2.19. are used for the designated pattern.

For DITHER_SGRID=5-POINT-BAR, all of the listed offsets in Table F2.20. are used for the designated pattern.

## F2.3 Primary Dithers

These patterns maximize varying depth of coverage.

Table F2.1 – Offsets for DITHER_FOV=FULL

| Primary_Dithers | N | x “ | y “ |
| --- | --- | --- | --- |
| 3 | 1 | (58( | (23.5( |
|  | 2 | 0( | 0( |
|  | 3 | +58( | +23.5( |
| 6 | 1 | (72( | (30( |
|  | 2 | (43( | (18( |
|  | 3 | (14( | (6( |
|  | 4 | +15( | +6( |
|  | 5 | +44( | +18( |
|  | 6 | +73( | +30( |
| 9 | 1 | (78( | (33( |
|  | 2 | (58( | (24( |
|  | 3 | (38( | (15( |
|  | 4 | (20( | (8( |
|  | 5 | 0( | 0( |
|  | 6 | +20( | +8( |
|  | 7 | +38( | +15( |
|  | 8 | +58( | +24( |
|  | 9 | +78( | +33( |
| 3TIGHT | 1 | (58( | (7.5( |
|  | 2 | 0( | 0( |
|  | 3 | +58( | +7.5( |

The patterns in Tables F2.2 – F2.6 optimize flat coverage.

Table F2.2 – Offsets for DITHER_FOV=FULL, PRIMARY_DITHERS=15

| PRIMARY_DITHERS=15 |
| --- |
| N | x “ | y “ | N | x “ | y “ | N | x “ | y “ |
| 1 | (77( | (32( | 6 | (19( | (7( | 11 | 39( | 16( |
| 2 | (72( | (33( | 7 | (14( | (9( | 12 | 44( | 15( |
| 3 | (57( | (23( | 8 | 1( | 0( | 13 | 59( | 25( |
| 4 | (43( | (20( | 9 | 15( | 3( | 14 | 73( | 27( |
| 5 | (37( | (14( | 10 | 21( | 9( | 15 | 79( | 32( |

Table F2.3 – Offsets for DITHER_FOV=FULL, PRIMARY_DITHERS=21

| PRIMARY_DITHERS=21 |
| --- |
| N | x “ | y “ | N | x “ | y “ | N | x “ | y “ |
| 1 | (77( | (36( | 8 | (19( | (5( | 15 | 39( | 18( |
| 2 | (75( | (30( | 9 | (17( | (7( | 16 | 41( | 17( |
| 3 | (70( | (21( | 10 | (12( | 2( | 17 | 46( | 27( |
| 4 | (55( | (23( | 11 | 3( | 0( | 18 | 61( | 27( |
| 5 | (48( | (18( | 12 | 10( | 5( | 19 | 68( | 34( |
| 6 | (41( | (12( | 13 | 17( | 11( | 20 | 75( | 29( |
| 7 | (35( | (12( | 14 | 23( | 12( | 21 | 81( | 34( |

Table F2.4 – Offsets for DITHER_FOV=FULL, PRIMARY_DITHERS=27

| PRIMARY_DITHERS=27 |
| --- |
| N | x “ | y “ | N | x “ | y “ | N | x “ | y “ |
| 1 | (84( | (41( | 10 | (26( | (16( | 19 | 32( | 7( |
| 2 | (77( | (37( | 11 | (19( | (12( | 20 | 39( | 11( |
| 3 | (71( | (20( | 12 | (13( | 5( | 21 | 45( | 28( |
| 4 | (64( | (32( | 13 | (6( | (9( | 22 | 52( | 16( |
| 5 | (57( | (28( | 14 | 1( | (5( | 23 | 59( | 20( |
| 6 | (51( | (11( | 15 | 7( | 12( | 24 | 65( | 37( |
| 7 | (44( | (23( | 16 | 14( | 0( | 25 | 72( | 23( |
| 8 | (37( | (19( | 17 | 21( | 4( | 26 | 79( | 27( |
| 9 | (31( | (2( | 18 | 27( | 21( | 27 | 85( | 44( |

Table F2.5 – Offsets for DITHER_FOV=FULL, PRIMARY_DITHERS=36

| PRIMARY_DITHERS=36 |
| --- |
| N | x “ | y “ | N | x “ | y “ | N | x “ | y “ |
| 1 | (83( | (54( | 13 | (25( | (29( | 25 | 33( | -6( |
| 2 | (78( | (27( | 14 | (20( | (2( | 26 | 38( | 21( |
| 3 | (77( | (37( | 15 | (19( | (12( | 27 | 39( | 11( |
| 4 | (72( | (10( | 16 | (14( | 15( | 28 | 44( | 38( |
| 5 | (63( | (45( | 17 | (5( | (22( | 29 | 53( | 3( |
| 6 | (59( | (18( | 18 | 0( | 5( | 30 | 58( | 30( |
| 7 | (57( | (28( | 19 | 1( | (5( | 31 | 59( | 20( |
| 8 | (52( | (1( | 20 | 6( | 22( | 32 | 64( | 47( |
| 9 | (43( | (36( | 21 | 15( | (13( | 33 | 73( | 10( |
| 10 | (38( | (9( | 22 | 20( | 14( | 34 | 78( | 37( |
| 11 | (38( | (19( | 23 | 21( | 4( | 35 | 79( | 27( |
| 12 | (32( | 8( | 24 | 26( | 31( | 36 | 84( | 54( |

Table F2.6 – Offsets for DITHER_FOV=FULL, PRIMARY_DITHERS=45

| PRIMARY_DITHERS=45 |
| --- |
| N | x “ | y “ | N | x “ | y “ | N | x “ | y “ | N | x “ | y “ | N | x “ | y “ |
| 1 | (84( | (61( | 10 | (50( | 6( | 19 | (17( | (5( | 28 | 22( | 21( | 37 | 55( | 10( |
| 2 | (81( | (47( | 11 | (44( | (43( | 20 | (12( | 22( | 29 | 23( | 11( | 38 | 60( | 37( |
| 3 | (76( | (20( | 12 | (41( | (29( | 21 | -6( | (29( | 30 | 28( | 38( | 39 | 61( | 27( |
| 4 | (75( | (30( | 13 | (36( | (2( | 22 | (3( | (15( | 31 | 32( | (13( | 40 | 66( | 54( |
| 5 | (70( | (3( | 14 | (35( | (12( | 23 | 2( | 12( | 32 | 35( | 1( | 41 | 72( | 3( |
| 6 | (64( | (52( | 15 | (30( | 15( | 24 | 3( | 2( | 33 | 40( | 28( | 42 | 75( | 17( |
| 7 | (61( | (38( | 16 | (26( | (36( | 25 | 8( | 20( | 34 | 41( | 18( | 43 | 80( | 44( |
| 8 | (56( | (11( | 17 | (23( | (22( | 26 | 14( | (20( | 35 | 46( | 45( | 44 | 81( | 34( |
| 9 | (55( | (21( | 18 | (18( | 5( | 27 | 17( | (6( | 36 | 52( | (4( | 45 | 86( | 61( |

Table F2.7 – Offsets for DITHER_FOV=INTRAMODULE

| PRIMARY_DITHERS | x “ | y “ |
| --- | --- | --- |
| 1 | (3.75” | +3.75” |
| 2 | +3.75” | (3.75” |
| 3 | +11.25( | (11.25( |
| 4 | (11.25( | +11.25( |
| 5 | +11.25( | +11.25( |
| 6 | (11.25( | (11.25( |
| 7 | (3.75( | (3.75( |
| 8 | +3.75( | +3.75( |
| 9 | (11.25( | +3.75( |
| 10 | +11.25( | (3.75( |
| 11 | +3.75( | (11.25( |
| 12 | (3.75( | +11.25( |
| 13 | (11.25( | (3.75( |
| 14 | +11.25( | +3.75( |
| 15 | (3.75( | (11.25( |
| 16 | +3.75( | +11.25( |

Table F2.8 – Offsets for DITHER_FOV=INTRASCA

| PRIMARY_DITHERS | DITHER_SIZE |
| --- | --- |
|  | LARGE | MEDIUM | SMALL |
|  | x “ | y “ | x “ | y “ | x “ | y “ |
| 1 | +0.00( | +0.00( | 0.00( | +0.00( | +0.00( | +0.00( |
| 2 | +24.56( | +24.56( | +16.38( | +16.38( | +8.19( | +8.19( |
| 3 | +24.56( | –24.56( | +16.38( | -16.38( | +8.19( | –8.19( |
| 4 | –24.56( | –24.56( | –16.38( | –16.38( | –8.19( | –8.19( |
| 5 | –24.56( | +24.56( | –16.38( | +16.38( | –8.19( | +8.19( |
| 6 | +0.00( | +24.56( | +0.00( | +16.38( | +0.00( | +8.19( |
| 7 | +24.56( | 0.00( | +16.38( | +0.00( | +8.19( | +0.00( |
| 8 | +0.00( | –24.56( | +0.00( | –16.38( | +0.00( | –8.19( |
| 9 | –24.56( | +0.00( | –16.38( | +0.00( | –8.19( | +0.00( |
| 10 | –12.28( | +12.28( | –8.19( | +8.19( | –4.09( | +4.09( |
| 11 | +12.28( | +12.28( | +8.19( | +8.19( | +4.09( | +4.09( |
| 12 | +12.28( | –12.28( | +8.19( | –8.19( | +4.09( | –4.09( |
| 13 | –12.28( | –12.28( | –8.19( | –8.19( | –4.09( | –4.09( |
| 14 | -12.28( | +0.00( | –8.19( | +0.00( | –4.09( | +0.00( |
| 15 | +0.00( | +12.28( | +0.00( | +8.19( | +0.00( | +4.09( |
| 16 | +12.28( | +0.00( | +8.19( | +0.00( | +4.09( | +0.00( |
| 17 | +0.00( | –12.28( | +0.00( | –8.19( | +0.00( | –4.09( |
| 18 | –12.28( | –24.56( | –8.19( | –16.38( | –4.09( | –8.19( |
| 19 | –24.56( | –12.28( | –16.38( | –8.19( | –8.19( | –4.09( |
| 20 | –24.56( | +12.28( | –16.38( | +8.19( | –8.19( | +4.09( |
| 21 | –12.28( | +24.56( | –8.19( | +16.38( | –4.09( | +8.19( |
| 22 | +12.28( | +24.56( | +8.19( | +16.38( | +4.09( | +8.19( |
| 23 | +24.56( | +12.28( | +16.38( | +8.19( | +8.19( | +4.09( |
| 24 | +24.56” | -12.28” | +16.38” | -8.19” | +8.19” | –4.09” |
| 25 | +12.28” | -24.56” | +8.19” | -16.38” | +4.09” | –8.19” |

## F2.4 Subpixel Dithers

Table F2.9 - Offsets for SUBPIXEL_POSITIONS=1-9

| N | x " | y " |  | N | x " | y " |
| --- | --- | --- | --- | --- | --- | --- |
| SUBPIXEL_POSITIONS=1 |  | SUBPIXEL_POSITIONS=7 |
| 1 | 0 | 0 |  | 1 | 0 | 0 |
| SUBPIXEL_POSITIONS=2 |  | 2 | 0.0366" | 0.1692" |
| 1 | 0 | 0 |  | 3 | 0.1052" | 0.2743" |
| 2 | 0.240" | 0.1760" |  | 4 | 0.1417" | 0.0913" |
| SUBPIXEL_POSITIONS=3 |  | 5 | 0.2103" | 0.2606" |
| 1 | 0 | 0 |  | 6 | 0.2468" | 0.0457" |
| 2 | 0.2347" | 0.0853" |  | 7 | 0.3154" | 0.1508" |
| 3 | 0.1493" | 0.2347" |  | SUBPIXEL_POSITIONS=8 |
| SUBPIXEL_POSITIONS=4 |  | 1 | 0 | 0 |
| 1 | 0 | 0 |  | 2 | 0.0320" | 0.1440" |
| 2 | 0.160" | 0.1440" |  | 3 | 0.0800" | 0.3200" |
| 3 | 0.080" | 0.2240" |  | 4 | 0.1440" | 0.0800" |
| 4 | 0.240" | 0.0480" |  | 5 | 0.1680" | 0.2320" |
| SUBPIXEL_POSITIONS=5 |  | 6 | 0.2960" | 0.0560" |
| 1 | 0 | 0 |  | 7 | 0.2800" | 0.1680" |
| 2 | 0.1024" | 0.2048" |  | 8 | 0.3120" | 0.3440" |
| 3 | 0.2048" | 0.4096" |  | SUBPIXEL_POSITIONS=9 |
| 4 | 0.3072" | 0.1024" |  | 1 | 0 | 0 |
| 5 | 0.4096" | 0.3072" |  | 2 | 0.0352" | 0.1387" |
| SUBPIXEL_POSITIONS=6 |  | 3 | 0.0640" | 0.3093" |
| 1 | 0 | 0 |  | 4 | 0.1067" | 0.0640" |
| 2 | 0.0747" | 0.1653" |  | 5 | 0.1707" | 0.1707" |
| 3 | 0.1493" | 0.2667" |  | 6 | 0.2027" | 0.3413" |
| 4 | 0.1600" | 0.0480" |  | 7 | 0.2777" | 0.0320" |
| 5 | 0.2347" | 0.2133" |  | 8 | 0.3093" | 0.1387" |
| 6 | 0.3093" | 0.1227" |  | 9 | 0.3414" | 0.3093" |

Table F2.10 - Offsets for SUBPIXEL_POSITIONS=10-64

| N | x " | y " |  | N | x " | y " |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0" | 0" |  | 33 | 0.484" | -0.480" |
| 2 | 0.224" | 0.080" |  | 34 | 0.708" | -0.400" |
| 3 | 0.080" | 0.224" |  | 35 | 0.564" | -0.256" |
| 4 | 0.304" | 0.304" |  | 36 | 0.788" | -0.176" |
| 5 | 0.488" | 0.000" |  | 37 | 0.972" | -0.480" |
| 6 | 0.712" | 0.080" |  | 38 | 1.196" | -0.400" |
| 7 | 0.568" | 0.224" |  | 39 | 1.052" | -0.256" |
| 8 | 0.792" | 0.304" |  | 40 | 1.276" | -0.176" |
| 9 | 0.768" | 0.776" |  | 41 | 0.964" | 0.008" |
| 10 | 0.544" | 0.728" |  | 42 | 1.188" | 0.088" |
| 11 | 0.720" | 0.552" |  | 43 | 1.044" | 0.232" |
| 12 | 0.496" | 0.504" |  | 44 | 1.268" | 0.312" |
| 13 | 0.296" | 0.776" |  | 45 | 0.972" | 0.488" |
| 14 | 0.072" | 0.728" |  | 46 | 1.196" | 0.568" |
| 15 | 0.248" | 0.552" |  | 47 | 1.052" | 0.712" |
| 16 | 0.024" | 0.504" |  | 48 | 1.276" | 0.792" |
| 17 | -0.188" | 0.772" |  | 49 | 1.248" | 1.252" |
| 18 | -0.412" | 0.724" |  | 50 | 1.024" | 1.204" |
| 19 | -0.236" | 0.548" |  | 51 | 1.200" | 1.028" |
| 20 | -0.460" | 0.500" |  | 52 | 0.976" | 0.980" |
| 21 | -0.180" | 0.292" |  | 53 | 0.776" | 1.252" |
| 22 | -0.404" | 0.244" |  | 54 | 0.552" | 1.204" |
| 23 | -0.228" | 0.068" |  | 55 | 0.728" | 1.028" |
| 24 | -0.452" | 0.020" |  | 56 | 0.504" | 0.980" |
| 25 | -0.476" | -0.468" |  | 57 | 0.288" | 1.260" |
| 26 | -0.252" | -0.388" |  | 58 | 0.064" | 1.212" |
| 27 | -0.396" | -0.244" |  | 59 | 0.240" | 1.036" |
| 28 | -0.172" | -0.164" |  | 60 | 0.016" | 0.988" |
| 29 | 0.012" | -0.468" |  | 61 | -0.184" | 1.260" |
| 30 | 0.236" | -0.388" |  | 62 | -0.408" | 1.212" |
| 31 | 0.092" | -0.244" |  | 63 | -0.232" | 1.036" |
| 32 | 0.316" | -0.164" |  | 64 | -0.456" | 0.988" |

## F2.5 Wavefront Sensing and Control (WFSC) Dithers

Table F2.11 - Offsets for DITHER_WFSC=2PLUS and 2MINUS

| SUBPIXEL_POSITIONS | x " | y " |  | SUBPIXEL_POSITIONS | x " | y " |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0" | 0" |  | 1 | +0.16" | 0" |
| 2 | +0.16" | 0" |  | 2 | 0" | 0" |

## F2.6 Wide-Field Slitless Spectroscopy (WFSS) Dithers

Table F2.12 - Offsets for DITHER_WFSS= 2

| SUBPIXEL_POSITIONS | x " | y " |
| --- | --- | --- |
| 1 | 0" | 0" |
| 2 | +0.618" | +0.618” |

Table F2.13 - Offsets for DITHER_WFSS= 4

| SUBPIXEL_POSITIONS | x " | y " |
| --- | --- | --- |
| 1 | 0" | 0" |
| 2 | +0.618" | -0.127” |
| 3 | -0.127” | +0.618” |
| 4 | -0.618” | -0.618” |

*Note: This dither was called 4-point, but was converted to an integer to avoid needing a type change in the PPSDB, per emails 2016-10-10.

Table F2.14 - Offsets for DITHER_WFSS= 9

| SUBPIXEL_POSITIONS | x " | y " |
| --- | --- | --- |
| 1 | 0" | 0" |
| 2 | -0.497" | -0.127” |
| 3 | +0.497” | -0.254” |
| 4 | -0.127” | -0.497” |
| 5 | -0.560” | -0.560” |
| 6 | +0.560” | -0.370” |
| 7 | -0.254” | +0.497” |
| 8 | -0.370” | +0.560” |
| 9 | +0.370” | +0.370” |

*Note: This dither was called 9-point, but was converted to an integer to avoid needing a type change in the PPSDB, per emails 2016-10-10.

Table F2.15 - Offsets for DITHER_WFSS= GRISMR_SID

| SUBPIXEL_POSITIONS | x " | y " |
| --- | --- | --- |
| 1 | -12.0" | 0” |
| 2 | +12.0” | 0” |

*Note: The (0,0) offset position is intentionally omitted from this table, since it would lead to a duplicate of the previous exposure.

Table F2.16 - Offsets for DITHER_WFSS= GRISMC_SID

| SUBPIXEL_POSITIONS | x " | y " |
| --- | --- | --- |
| 1 | 0" | -12.0" |
| 2 | 0” | +35.0” |

*Note: The (0,0) offset position is intentionally omitted from this table, since it would lead to a duplicate of the previous exposure.

## F2.7 Small-Grid Dithers

Table F2.17 - Offsets for DITHER_SGRID=5-POINT-DIAMOND

| SUBPIXEL_POSITIONS | x " | y " |
| --- | --- | --- |
| 1 | 0" | 0" |
| 2 | 0" | +0.020” |
| 3 | 0” | -0.020” |
| 4 | +0.020” | 0” |
| 5 | -0.020” | 0” |

Table F2.18- Offsets for DITHER_SGRID=5-POINT-BOX

| SUBPIXEL_POSITIONS | x " | y " |
| --- | --- | --- |
| 1 | 0" | 0" |
| 2 | +0.015" | +0.015” |
| 3 | -0.015” | +0.015” |
| 4 | -0.015” | -0.015” |
| 5 | _+0.015” | -0.015” |

Table F2.19- Offsets for DITHER_SGRID=9-POINT-CIRCLE

| SUBPIXEL_POSITIONS | x " | y " |
| --- | --- | --- |
| 1 | 0" | 0" |
| 2 | 0” | +0.020” |
| 3 | -0.015" | +0.015” |
| 4 | -0.020” | 0” |
| 5 | -0.015” | -0.015” |
| 6 | 0” | -0.020” |
| 7 | +0.015” | -0.015” |
| 8 | +0.020” | 0” |
| 9 | +0.015” | +0.015” |

Table F2.20- Offsets for DITHER_SGRID=3-POINT-BAR

| SUBPIXEL_POSITIONS | x " | y " |
| --- | --- | --- |
| 1 | 0" | 0" |
| 2 | 0” | +0.015” |
| 3 | 0" | -0.015” |

Table F2.21- Offsets for DITHER_SGRID=5-POINT-BAR

| SUBPIXEL_POSITIONS | x " | y " |
| --- | --- | --- |
| 1 | 0" | 0" |
| 2 | 0” | +0.020” |
| 3 | 0" | +0.010” |
| 4 | 0” | -0.010” |
| 5 | 0” | -0.020” |