## Ch 9
NIRSpec Multi-Object Spectroscopy Spectroscopy
Program, Obs(.Exposure_Spec) | Comment
Template Specific Information
663 1 | NIRSpec Multi-Object Spectroscopy Spectroscopy template exists
11127 2 | MSA Plan choose from list if template generated from MPT
663 1 | Pre-Image Availability choose from list
663 1 | Pre-Image File choose from file browser if Already Obtained
MSA Target Acquisition Parameters Visit Level | MSA Target Acquisition Parameters on visit
663 1 | Field: Target Acquisition Method choose from list
11127 2 | Field: Reference Star Bin choose from list
11127 2 | Field: Acquisition Filter set based on Reference star bin
11127 2 | Field: Acquisition MSA Configuration Filename choose from list
11127 2 | Acquisition Readout Pattern set based on Reference star bin
WATA Target Acquisition Parameters | Wata Target Acquisition Exposure Parameters
632 7 | Field: Acquisition Target choose from list
732 7 | Field: Acquisition Subarray choose from list
732 7 | Field: Acquisition Filter choose from list
732 7 | Field: Acquisition Readout Pattern choose from list
Pointing Verification Image
663 11 | Field: Pointing Verification Image Filter
663 11 | Field: Pointing Verification Image Readout Pattern
663 11 | Field: Pointing Verification Image Number of Groups/Integration
663 11 | Field: Pointing Verification Image MSA Configuration Filename
Science Parameters
663 11 | Field: Science Aperture choose from list
663 11.01 | Field: Grating/Filter choose from list
663 11.01 | Field: MSA Configuration
663 11.01 | Field: Readout Pattern choose from list
663 11.01 | Field: Number of Groups/Integration number
663 11.01 | Field: Number of Integrations/Exposure number
663 11.01 | Field: Auto Calibration Option choose from list
Confirmation Image
663 12 | Field: Obrain Confirmation Images choose from list
663 c12.01 | Field: Confirmation Type
663 c12.01 | Field: Confirmation Image Readout Pattern
663 c12.01 | Field: Confirmation Image Number of Groups/Integration
MSA Plan
11127 2 | MSA Plan if template generated using the MPT
11127 2 | MSA Plan defaults to plan used when template created
If different plan than one template built from rebuilt to match that plan
Pre-Image Availability
663 1 | Is already obtained
208 8 | Will be obtained external to this program
208 10 | Will be done in this program
663 2 | Not required
663 1 | Pre-Image file… select if Is already obtained
208 9 | Will be obtained external to his program requires ON HOLD sr
208 10 | Will be done in this program, select obs of NIRCam image
208 10 | AFTER OBS BY sr req on the MOS to link the NIRCam to MOS minimum 6 weeks
208 9 | Will be done requires ON HOLD on MOS
208 10 | warning if AFTER by OBS less than 60 days
208 9 | error if AFTER OBS BY < 6 weeks
209 8 | error if ON HOLD sr not present Will be obtained external…
904 35 | APT should verify at least one option is selected
Target Acquisition Parameters
Target Acquisition Method
663 34 | NONE
663 1 (904 12) | MSATA (default)
632 7 | WATA
663 11 | VERIFY_ONLY
632 15 | MSATA not allowed for moving targets
632 15 | WATA moving targets allowed acq target must be science target as offset acq targets not allowed in this case
MSA Target Acquisition Exposure Visit Level
Reference Star Bin
11127 2 | MSA Planning tool generate multiple options
341 6 CLEAR NRSRAPID 5 stars | only 5 or more reference star bins shown
341 6 CLEAR NRSRAPID 5 stars | bin with 5-7 reference stars warning
341 7 NRSRAPIDD1 8 stars | no warning for 8 or more
Acquisition Filter
11127 2 | automatically set based on Ref Star Bin CLEAR, F140X, F110W
Acquisition MSA Configuration Filename
11127 2 | select previously config defined in MPT
11134 4 | or select ALLOPEN
11127 6 | Auto Acq MSA Config (default)
Acquisition Readout Pattern
11127 2 | automatically set based on Ref Star Bin
Acquisition Number of Groups/Integration
11127 2 | automatically set to 3 uneditable
Acquisition Number of Integrations/Exposure
11127 2 | automatically set to 1 uneditable
11127 2 | SUBARRAY not given, FULL for purposes of exposure time
WATA Target Acquisition Exposure
632 7 | if offset select from list
904 34 | ACQUISITION TARGET field should always be present and defaulted to SAME TARGET AS OBSERVATION
904 52 | Error if Acq and Science target too far apart
Acquisition Subarray
632 9 | SUB32
632 8 | SUB2048
632 7 | FULL
Acquisition Filter
632 9 | F140X
632 7 | F110W
632 8 | CLEAR
Acquisition Readout Pattern
632 7 | NRS
632 9 | NRSRAPID
Acquisition Number of Groups/Integration
632 7 | automatically set to 3 uneditable
Acquisition Number of Integrations/Exposure
632 7 | automatically set to 1 uneditable
Pointing Verification Image
Pointing Verification Image Filter
663 13 | F140X
663 11 | F110W
663 14 | CLEAR
Pointing Verification Image Readout Pattern
663 15 | NRS
663 11 | NRSRAPID
663 13 | NRSIRS2
663 14 | NRSIRS2RAPID
Pointing Verification Image Number of Groups/Integration
663 11 | number
663 11 | SUBARRAY not given, FULL for purposes of exposure time
Pointing Verification Image Number of Integrations/Exposure
663 11 | automatically set to 1 uneditable
Pointing Verification Image MSA Configuration Filename
663 15 | select previously defined config in MPT
663 14 | or select ALLOPEN
663 13 | or select ALLCLOSED
663 11 | no selection shutters will be open
Science Parameters
Science Aperture
663 1 | MSA Center
11134 3 | Q4 Field Point 1
663 32 | Q4 Field Point 2
904 17 | MSA Center nominal default
904 35 | Q4 Field Point 1 becomes default for MOS spectroscopy
Grating/Filter Name
663 1.01 | G140M/F070LP
663 3.02 | G140M/F100LP
663 6.01 | G235M/F170LP
663 6.02 | G395M/F290LP
663 2.01 | G140H/F070LP
663 6.03 | G140H/F100LP
663 3.03 | G235H/F170LP
663 3.01 | G395H/F290LP
663 4.01 | PRISM/CLEAR
MSA Cnfiguration
663 4.01 | ALLOPEN
663 2.01 | ALLCLOSED
11134 4.01 | Q4 Field Point 1 Long Slit
11134 2.01 | Q4 Field Point 2 Long Slit
11113 6.01 | user created msa config
904 14.01,02 | MOS science should not usually use ALLOPEN or ALLCLOSED
Readout Pattern
663 1.01 (904 17) | NRS (default)
663 2.01 | NRSRAPID
663 12.01 | NRSIRS2
663 24.03 | NRIRS2RAPID
904 14.01 | GROUPS x INTS must be less than 256 for NRSIRS2
904 14.02 | GROUPS x INTS must be less than 1024 for NRSIRS2RAPID
663 24 | 100 second overhead switching between IRS2 and non-IRS2 in an observation
663 24 | warn if 100 second overhead added
Number of Groups/Integration
663 1.01 | number
6815 55.01,02 | min/maximum 1 65535
904 33.01,02 | illegal 0,65536
Number of Integrations/Exposure
663 1.01 | number
6815 55.02,01 | min/maximum 1 65535
904 33.02,01 | illegal 0,65536
663 1.01 | SUBARRAY not explicitly given, FULL for time calculations
Auto Calibration Exposure(s)
Autocal
663 1.01 (904 17) | NONE (default)
663 11.02 | FLAT
663 11.03 | WAVECAL
663 11.01 | BOTH
6815 55.01 | if Autocal not NONE then error if NO PARALLEL sr not specified
Optional Confirmation Image
Obtain Confirmation Images
663 1 (904 17) | NO (default)
663 2 | AFTER TARGET ACQ
663 24 | AFTER TARGET ACQ and NEW MSA CONFIGURATION
Confirmation Images it not NO
Confirmation Readout Pattern
663 c2.01 (904 c35.01) | NRS (default)
663 c3.01 | NRSRAPID
663 c12.01 | NRSIRS2
663 c24.03 | NRSIRS2RAPID
663 c2.01 no IRS2 663 c12.01 no non-IRS2 663 c24.01-04 both | choice of Science RP dictates avavailability of CI RPs either the IRS2 or the non-IRS2 patterns
Confirmation Number of Groups/Integration
663 c2.01 | number
6815 c55.01,02 | min/maximum 1 65535
904 c35.01,c36.01 | illegal 0,65536
663 c2.01 | SUBARRAY not explicitly given, FULL for time calculations
Confirmation Number of Groups/Integration
663 c2.01 | set to 1 uneditable
663 c2.01 | SUBARRAY not explicitly given, FULL for time calculations